## Slide 1: Recap & Next steps
20201102

## Slide 2: Recap
First stage current status & to include
  Current features: peak picking, alignment, visualization, formula tools, other basic functions
  Verification and moving on: peak picking verification, code optimization(peak algorithm refinement)
Data for verification
  Ideally standard samples with known peaks, cover different RT, mz and peak areas (EPA pesticide mix?)
  In house NTA samples with manual confirmation
Question to answer
    Apple to Apple comparison (same parameter comparison)
    How many peaks in the std found?
    Else than known peaks, is there other interested hits?  i.e. proof that the algorithm find most good shape peaks (Manual check?)
    Hit rate = good peaks number / total features extracted by package

## Slide 3: Recap to do
Retrieve the std data to use along with reference feature list
Run the data through 3 workflow, compare the results as validation steps with same parameter setting
Compare workflow result with std reference, count for absolute hits
Manual check the peak shape hit rate
Collect the results  depending on performance, optimize the peak picking algorithm repeatedly
Reference: https://pubs.acs.org/doi/10.1021/acs.analchem.9b04811
Noise Hit ?

## Slide 4: Presenting the tool
Verify it is functional as other tools: solid start
Re-address the advantage of novelty, portability, flexibility and Scalability
Novelty: First fully functional package for environmental analysis based on python
Portability: unlimited external resource usage rather than workstation in lab
Flexibility: user can reprint result by different settings immediately
Scalability: Modularized set up for future development

## Slide 5
Current functions
Module | Function | Description
mssmain | get_scans | HRMS data import
 | peak_pick | peak picking from imported data using defined parameters
 | peak_list | generate a feature list based on user-defined settings
 | formula_prediction | predicting selected feature's formula with isotopic pattern scoring
 | realignment | align the feature lists from different samples
 | mss_processor | Integrated script process data from mzml to csv though peak picking and alignment
visreader | tic_plot | Present the TIC plot for selected data
 | ms_plot | present the selected spectrum indexing by numbers
 | ms_chromatogram | generate a chromatogram plot for selected features
 | integration_plot | generate an integrated chromatogram plot for peak area checking
 | iso_plot | present the MS1 spectrum for selected features with the theoratical MS1 spectrum from input formula for comparison
frag | frag_massbank | search online database for the input fragment list
 | frag_comp | present the MS2 spectrum for selected precursors with optional online database search and comparison
dm | data_prep | data cleaning and preliminary filters for subsequent analysis
 | ms_cluster | unsupervised clustering on HRMS data, dimension reduction is optional
 | trend_calc | calculate the trend correlation of selected features*
 | source_label | tracking the source from different samples*
 | feature_model | modeling function towards experimental backgrounds
 | cluster_pred | prediction on new data based on trained models

## Slide 6: Note
Possible data
Parameter that matters
  Intensity threshold
Code review
Other functions

## Slide 7: Next step – Data to use
1) Methanol dilution
Tire leachate extract
Dilution in organic solvent (MeOH):
Tire leachate extract
DI water
Surface water
Highway run off
…
…
…
…
…
2) Source dilution in different matrices
Dilution to find fingerprints (anchors)
Fingerprints in different background
Chart: Retention time
| 10.551958737458094 | 10.007776202617444 | 6.4839272977222002 | 2.7669322851410438 | 18.678536808770712 | 15.41666181627736 | 5.5044593358215117 | 12.332628139038489 | 14.97524632121473 | 11.37089454389135 | 18.757874573621351 | 3.3097645571274636 | 1.1418720958919604 | 5.4710634594869489 | 7.9898446308135362 | 5.9101419518245795 | 8.1560622879954074 | 0.66911793295309829 | 13.298525353249444 | 5.9647374541008809 | 18.981885198620077 | 14.8501700588959 | 14.202781448492747 | 0.32064668177163913 | 4.2506815007448751 | 9.9605100738702745 | 11.390671541253457 | 17.758541189032307 | 14.56456940340513 | 19.26162609416 | 9.4074719155116959 | 2.5198212690916 | 5.4296293400923101 | 13.617170228085264 | 0.30522990042189058
background1 | 641.7217 | 585.5091 | 865.6799 | 365.1171 | 204.6049 | 247.8332 | 734.6016 | 604.851 | 67.1738 | 389.0159 | 394.1454 | 375.0465 | 417.2596 | 90.9326 | 78.2397 | 747.3856 | 712.322 | 606.4951 | 264.2153 | 142.2328 | 931.0636 | 924.1092 | 698.0927 | 296.4003 | 298.4452 | 686.6437 | 345.4314 | 898.9568 | 674.7263 | 663.0967 | 201.0868 | 927.0016 | 13.0921 | 874.7646 | 244.0152
anchors | 641.7217 | 585.5091 | 865.6799 | 365.1171 | 204.6049 | 247.8332 | 734.6016 | 604.851 | 67.1738
Chart: Retention time
| 10.551958737458094 | 10.007776202617444 | 6.4839272977222002 | 2.7669322851410438 | 18.678536808770712 | 15.41666181627736 | 5.5044593358215117 | 12.332628139038489 | 14.97524632121473
anchors | 641.7217 | 585.5091 | 865.6799 | 365.1171 | 204.6049 | 247.8332 | 734.6016 | 604.851 | 67.1738
Chart: Retention time
| 8.188338428118298 | 17.254194767731128 | 8.6774249815060429 | 12.560284193852524 | 16.162316848509327 | 11.90383684745753 | 11.062743893235558 | 5.8685554719313515 | 12.430475872974093 | 12.812591889304368 | 13.512092972022597 | 4.8882066835420401 | 6.2537154152621444 | 15.114988740204932 | 6.089816021965837 | 13.397599654434238 | 15.722873023517154 | 19.67079737572773 | 3.1580257202277529 | 16.725385635627227 | 10.893402379294031 | 13.239514852412135 | 8.0815524921348896 | 8.4243104652019856 | 1.6317579158418138 | 4.06721936510775 | 13.282299730743697 | 9.984110591334014 | 2.9226811502884997 | 0.29103958392934892 | 0.18567720173480184 | 17.039501815008826 | 14.602400622439312 | 12.059036294080855 | 9.2110979376397406
background2 | 268.4755 | 588.7269 | 293.0658 | 106.9392 | 901.9527 | 13.1503 | 967.7466 | 630.7735 | 25.5048 | 974.8965 | 804.5947 | 433.5926 | 680.2608 | 743.0349 | 990.1967 | 720.54 | 191.7839 | 87.1499 | 979.229 | 583.631 | 982.5989 | 729.8007 | 652.2045 | 197.5353 | 740.0551 | 294.1027 | 468.1801 | 953.3848 | 70.739 | 955.3164 | 565.303 | 506.7053 | 659.572 | 460.2157 | 83.8168
anchors | 641.7217 | 585.5091 | 865.6799 | 365.1171 | 204.6049 | 247.8332 | 734.6016 | 604.851 | 67.1738

## Slide 8
Source Identification
Dilution series from Tire extract
How to find the end members? (fingerprints)
1. Automated workflow: DBSCANS, OPTICS
2. Manual defined criteria
Extended work: alignment
Is the fingerprint there? (source identification)
Quantification
If it is, how much likely is there? (Low dimensional image recognition or high dimensional data approaches)
If the source is present, how much? (Modeling approaches using the fingerprints)
If the fingerprint is in different shape/position, can we still find it? If we can, then how can we reshape it back?
Manual fingerprint search criteria example: recursively find features:
Decrease over dilution
Fit in the linear relationship with tolerance range(+/-15%)
Within the retention time and mz range
In different backgrounds
Development roadmap

## Slide 9: Pattern recognition idea board
Imagine we have a triangle as our original data, by finding the fingerprints, we found the shape of triangle
Q1. how do we find triangle in different background?
Q2. how do we ‘quantify’ the triangle?
Q3. all of the others also triangle, how do we find them? If we can find them, how can we stretch them back?
Challenge: data loss, the triangle in real sample may be imperfect
Partially developed in current package already

## Slide 10: How to find end members
Blank subtraction and noise removal
  Get rid of all the features that didn’t follow the dilution behavior(e.g. didn’t decrease or even increase)
Check the features using defined criteria: how much did it follow linear relationship, how similar with each other
  DBSCANS, OPTICS
  ‘Manual’ filter
Power of using numbers of feature rather than few:
  Reduced individual effect
  Overviewed the source
  Identification of the source use the relative pattern rather than absolute value
Chart: Retention time
| 10.551958737458094 | 10.007776202617444 | 6.4839272977222002 | 2.7669322851410438 | 18.678536808770712 | 15.41666181627736 | 5.5044593358215117 | 12.332628139038489 | 14.97524632121473
anchors | 641.7217 | 585.5091 | 865.6799 | 365.1171 | 204.6049 | 247.8332 | 734.6016 | 604.851 | 67.1738

## Slide 11: Quick trail
Blank subtraction and rough noise removal
  Sample Max/Blank Avg >=5
  Retention time between 2-20min, m/z < 800
  2533 features passed
OPTICS
  179 features prioritized
Linear regression
  R2 >= 0.99
  Slope >= 0.002
  642 features prioritized
The lower end determined the result as they are more crowded
Comparison – which one works better?
  Should be a case-to-case discussion
OPTICS sample
OPTICS prioritized features
regression prioritized features
Dilution rate
Different fingerprints
Color representing peak area
1) Methanol dilution
Tire leachate extract
Dilution in organic solvent (MeOH):

## Slide 12: Pattern recognition idea board
Imagine we have a triangle as our original data, by finding the fingerprints, we found the shape of triangle
Chart: Retention time
| 10.551958737458094 | 10.007776202617444 | 6.4839272977222002 | 2.7669322851410438 | 18.678536808770712 | 15.41666181627736 | 5.5044593358215117 | 12.332628139038489 | 14.97524632121473
anchors | 641.7217 | 585.5091 | 865.6799 | 365.1171 | 204.6049 | 247.8332 | 734.6016 | 604.851 | 67.1738
The relative position of the points (network) calculate as right
Save the connection and edge as the source network information – HOW?
Edge: absolute RT & mz pair for the fingerprint features
Connection: relative positions from the fingerprint networks
How it looks like
Strategy to use:
a) machine learning
b) Manual calculation
Dilution rate
Different fingerprints
Color representing peak area

## Slide 13: Pattern recognition idea board
Q1. how do we find triangle in different background?
Chart: Retention time
| 10.551958737458094 | 10.007776202617444 | 6.4839272977222002 | 2.7669322851410438 | 18.678536808770712 | 15.41666181627736 | 5.5044593358215117 | 12.332628139038489 | 14.97524632121473 | 11.37089454389135 | 18.757874573621351 | 3.3097645571274636 | 1.1418720958919604 | 5.4710634594869489 | 7.9898446308135362 | 5.9101419518245795 | 8.1560622879954074 | 0.66911793295309829 | 13.298525353249444 | 5.9647374541008809 | 18.981885198620077 | 14.8501700588959 | 14.202781448492747 | 0.32064668177163913 | 4.2506815007448751 | 9.9605100738702745 | 11.390671541253457 | 17.758541189032307 | 14.56456940340513 | 19.26162609416 | 9.4074719155116959 | 2.5198212690916 | 5.4296293400923101 | 13.617170228085264 | 0.30522990042189058
background1 | 641.7217 | 585.5091 | 865.6799 | 365.1171 | 204.6049 | 247.8332 | 734.6016 | 604.851 | 67.1738 | 389.0159 | 394.1454 | 375.0465 | 417.2596 | 90.9326 | 78.2397 | 747.3856 | 712.322 | 606.4951 | 264.2153 | 142.2328 | 931.0636 | 924.1092 | 698.0927 | 296.4003 | 298.4452 | 686.6437 | 345.4314 | 898.9568 | 674.7263 | 663.0967 | 201.0868 | 927.0016 | 13.0921 | 874.7646 | 244.0152
anchors | 641.7217 | 585.5091 | 865.6799 | 365.1171 | 204.6049 | 247.8332 | 734.6016 | 604.851 | 67.1738
Chart: Retention time
| 11.533924569354422 | 14.030490619604572 | 0.45012257553642465 | 0.30511120554262527 | 16.568054527151663 | 14.888853269891166 | 3.4682533919283443 | 14.314769510984927 | 9.9093559697377707 | 18.536838298014736 | 15.358707501623034 | 3.3272765418743822 | 13.56570972557747 | 6.4466844526926987 | 14.015432382548173 | 16.335150138357001 | 4.6197775500744864 | 3.4667044812926573 | 8.6948043492582734 | 11.844297951726785 | 19.082284552240672 | 1.4566552876256678 | 17.550594518376311 | 18.952729561518783 | 16.5111374827509 | 1.6542219765527832 | 8.8780748157844904 | 4.175121550237062 | 17.881250714823391 | 8.7383062483511083 | 17.568957614567044 | 17.530319321760103 | 15.936670490603204 | 6.3862407287800576 | 16.930078959890096
background2 | 937.6393 | 662.2689 | 821.6908 | 11.7811 | 862.1937 | 580.8162 | 761.162 | 140.5072 | 623.1634 | 48.4144 | 75.7906 | 866.3747 | 322.9786 | 805.8044 | 603.0283 | 323.2705 | 936.5813 | 709.9234 | 106.2277 | 572.915 | 10.2316 | 488.1234 | 953.1715 | 67.7592 | 986.3288 | 545.3567 | 850.3362 | 554.0954 | 370.1031 | 623.8785 | 948.6525 | 852.7031 | 512.2898 | 926.066 | 134.6459
anchors | 641.7217 | 585.5091 | 865.6799 | 365.1171 | 204.6049 | 247.8332 | 734.6016 | 604.851 | 67.1738
Chart: Retention time
| 10.551958737458094 | 10.007776202617444 | 6.4839272977222002 | 2.7669322851410438 | 18.678536808770712 | 15.41666181627736 | 5.5044593358215117 | 12.332628139038489 | 14.97524632121473
anchors | 641.7217 | 585.5091 | 865.6799 | 365.1171 | 204.6049 | 247.8332 | 734.6016 | 604.851 | 67.1738
Simple answer: align the data and find the shape
However, sometimes the datapoint shifts or interfered with neighbors, lead to a failure on alignment introduce relative position as additional layer of identification
Option:
a) Image processing package
b) Data engineering – mining into numbers
The relative position information can also be used for data alignment(mentioned in Q3)
Ref https://www.pyimagesearch.com/2018/09/24/opencv-face-recognition/
Which algorithm to use : image process or mathematical model?

## Slide 14: Pattern recognition idea board
Q2. how do we ‘quantify’ the triangle(Source)?
Multivariate modeling based on the fingerprint features
Data shape: (split into training and validation)
 | Feature1(F1) e.g: 293.151@10min | F2 | F3 | F4 | F5 | … | Fn | Dilution rate (Final concentration) | Background
Peak Area | 1e8 | 1e6 | 1e8 | 2e5 | 3e3 | … | 6e4 | 10 mg/L | Surface water
 | … | … | … | … | … | … | … | … | 
Challenge:
Data loss
Model agreement & average on different background
Training data is small (sample case: 7dilution points, 3x replicate, 5 different background = 7*3*5 = 105 rows data)

## Slide 15: Pattern recognition idea board
Q3. all of the others also triangle, how do we find them? If we can find them, how can we stretch them back?
Simple case: even shiftshape didn’t change, but panned
Chart: Retention time
| 10.551958737458094 | 10.007776202617444 | 6.4839272977222002 | 2.7669322851410438 | 18.678536808770712 | 15.41666181627736 | 5.5044593358215117 | 12.332628139038489 | 14.97524632121473
anchors | 641.7217 | 585.5091 | 865.6799 | 365.1171 | 204.6049 | 247.8332 | 734.6016 | 604.851 | 67.1738
shifted anchors | 641.7217 | 585.5091 | 865.6799 | 365.1171 | 204.6049 | 247.8332 | 734.6016 | 604.851 | 67.1738
Complicate: deformation
Chart: Retention time
| 10.551958737458094 | 10.007776202617444 | 6.4839272977222002 | 2.7669322851410438 | 18.678536808770712 | 15.41666181627736 | 5.5044593358215117 | 12.332628139038489 | 14.97524632121473
anchors | 641.7217 | 585.5091 | 865.6799 | 365.1171 | 204.6049 | 247.8332 | 734.6016 | 604.851 | 67.1738
deformation anchors | 641.7217 | 585.5091 | 865.6799 | 365.1171 | 204.6049 | 247.8332 | 734.6016 | 604.851 | 67.1738
Solution:
Use relative position to back align the dataset

## Slide 16: Next steps
On the established workflow:
  Find data for validation
  Process the data under same condition for comparison
  Collect detailed and solid results with optimization on the workflow
  User-demo for other functions
On the new idea:
  Collect the data for the development
  Verify the ‘fingerprint searching’ algorithm
  Seek for algorithms answering Q1 and Q3