## Slide 1: Mass-suite: A novel Python package designed for mass spectrometry data analysis
Ximin Hu1, Derek Mar4, Nozomi Suzuki4, Bowei Zhang4, David A. Beck3, Edward P. Kolodziej2
1. Civil and Environmental Engineering, University of Washington, Tacoma, WA, United States. 2. Sciences and Mathematics (UWT); Civil and Environmental Engineering (UWS), University of Washington (Tacoma/Seattle), Tacoma, WA, United States. 3. Chemical Engineering, University of Washington, Seattle, WA, United States. 4. Materials Science and Engineering, University of Washington, Seattle, WA, United States.

## Slide 2: Introduction
Why Mass-suite
Full stack capability for Non-target HRMS data processing
Python is popular
Open-source
High Resolution Mass Spectrometry (HRMS)
Novel technology for water quality assessment
Data massive for interpretation and detailed analysis
Current software hard to meet every needs
Pollutant in water
Complicated and coming from different sources
Hard to identification and track
Current technologies are more concentrating on one/few chemical

## Slide 3
Overview of Mass-suite
Always new
There are always something new:
Source identification
Source quantitative apportionment
MS2 data mining
Even more..
visualization
Various plot tools for visualizing HRMS data:
Chromatograms
Spectrums
Static/Interactive options
More..
Other tools
HRMS data processing assisting tools:
Formula annotation
MS2 spectrum online search
HRMS data quality report
More..
Data mining
Explore HRMS data with data science tools:
Principle Component Analysis
T-SNE Dimension reduction
Clustering analysis based on DBSCAN/OPTICS
Various modeling options
More..
data processing
Essential functions for HRMS data processing:
Mzml import
Peak picking
Alignment
Data curation
More..

## Slide 4
One-line option
Step-by-step option
Example showcase
* Score calculated from randomforest model, built on 5000 training dataset
mss_process(mzml folder, output filename, *param)
*param defines:
Minimal scan
Intensity filter
Mass error tolerance
Retention time tolerance
Etc.
scans = get_scans(filepath, *param) #noise removal noise_removal(scans, threshold) #Generate peak list peak_list(scans, *param)

## Slide 5
Example showcase
Other options:
TIC plot
MS spectrum
Isotopic plot
Peak Integration
visreader.ms_chromatogram(file, Formula/mass, error, search_by_formula=True)

## Slide 6
Example showcase
Formula annotation
Interactive plot for HRMS data visualization
Feature annotation
Realtime database matching and searching using selected database

## Slide 8: Reliability
Comparison between different software
Reliability test using in-house standards

## Slide 9
*Test done on the same sample (set of 3) with same parameter, XCMS processed on the web interface

## Slide 10: In house sample validation
Chart: 
| Match | Mismatch
Peak_pick manual check | 408 | 5
* Mismatch derives from bad peak shape and function parameter settings
Samples with 413 known compound spiked were processed by Mass-suite

## Slide 11: Data mining
Statistical analysis
Clustering analysis
Modeling tools
Mass-suite provides capability for data mining on Non-target HRMS data

## Slide 12: Statistical analysis
PCA/T-SNE
T-test
Volcano plot
Similarity comparison
Etc.
Basic statistical analysis based on built-in python functions:

## Slide 13
  Distinguishing noise
  Find similar features with error tolerance
  Distinguish between different behaviors

## Slide 14: Modeling options for user
General function
Rf/lasso/other
Linear regression
Use cluster
Use cluster
Use all features
Use all features
Ensemble method
Separate model information & report
Separate model information & report
Performance report
Performance report
Performance report
Merged model
Merged model

## Slide 15: Modeling output
Based on the cluster information and model score, user can pick individual clusters for prediction.

## Slide 16: Comparison
Tool Features | Mass-suite | TidyMS | MZmine2 | XCMS | MS-DIAL | Profinder & MPP
Language | Python | Python | Java | R | C# | 
Rawdata preprocessing | √ | √ | √ | √ | √ | √
Data curation | √ | √ | √ | × | √ | √
QC-based batch correction | × | √ | × | × | × | ×
Quality reports | √ | √ | √ | × | √ | ×
Normalization, imputation, scaling | √ | √ | √ | × | √ | ×
Feature annotation | △ | × | √ | × | √ | √
Isotope grouping | × | × | √ | √ | √ | √
Interactive visualization plots | √ | × | √ | × | √ | √
Clustering statistical analysis | √ | × | × | × | × | ×
△ The annotation tool is still under development
Reference: Riquelme G, Zabalegui N, Marchi P, Jones CM, Monge ME. A Python-Based Pipeline for Preprocessing LC-MS Data for Untargeted Metabolomics Workflows. Metabolites. 2020 Oct 16;10(10):416. doi: 10.3390/metabo10100416. PMID: 33081373; PMCID: PMC7602939.

## Slide 17: Benchmarks
70%
Agreement on feature detection
As reliable as other platforms
99%
Accuracy of peak picking
With additional scoring based on RandomForest model
8 min/file*
Average processing time
Capable to be boosted up by supercomputers
*Tested using default parameters as intensity cut = 2000, mz error = 10 ppm, alignment mz error = 10 ppm, rt error = 0.5 min, model_scoring was off, test were performed on personal laptop (Intel(R) Core(TM) i7-7700HQ CPU, 16GB RAM)
4 Tools
Powering Non-target analysis
Based on data science approaches
30 Mb
Package size
Light for the installation and use
Open Source
Of the entire package
Keep updating, anyone can be involved,
the most flexible option
Notes: Statistical tools, clustering tools, modeling tools and source identification tool (in dev)

## Slide 18: Future development & update
Source identification tool
Understand chemical commonality found by tools
GUI/webtool on visualization and for non-programmer users
Dynamically update according to needs

## Slide 19: Related information
Installation:
  https://pypi.org/project/mass-suite/
Github page & documentation:
  https://github.com/XiminHu/mass-suite
Contact:
xhu66@uw.edu
Suggestions or collaborations are always welcome !

## Slide 20
Acknowledgement:
  A big shout to Professor Edward Kolodziej, Professor Dave Beck, Dr. Katherine Peter, and the Center of Urban Water for all their help during the development of this package.

## Slide 21: References
M Kösters et al; pymzML v2.0: introducing a highly compressed and seekable gzip format, Bioinformatics, doi: https://doi.org/10.1093/bioinformatics/bty046
Pedregosa et al., Scikit-learn: Machine Learning in Python, JMLR 12, pp. 2825-2830, 2011.
Martin Ester et al. 1996. A density-based algorithm for discovering clusters in large spatial databases with noise. In Proceedings of the Second International Conference on Knowledge Discovery and Data Mining (KDD'96). AAAI Press, 226–231.
Riquelme G et al. A Python-Based Pipeline for Preprocessing LC-MS Data for Untargeted Metabolomics Workflows. Metabolites. 2020 Oct 16;10(10):416. doi: 10.3390/metabo10100416. PMID: 33081373; PMCID: PMC7602939.
Tsugawa, Hiroshi et al. “MS-DIAL: data-independent MS/MS deconvolution for comprehensive metabolome analysis.” Nature methods vol. 12,6 (2015): 523-6. doi:10.1038/nmeth.3393
Horai, H. et al (2010), MassBank: a public repository for sharing mass spectral data for life sciences. J. Mass Spectrom., 45: 703-714. https://doi.org/10.1002/jms.1777
Katherine T. Peter et al., Application of Nontarget High Resolution Mass Spectrometry Data to Quantitative Source Apportionment, Environmental Science & Technology 2019 53 (21), 12257-12268 DOI: 10.1021/acs.est.9b04481

## Slide 22: Thanks!