## Slide 1: 505 min_scan 7
Msdial :21759
Mss: 10928
Xcms: 17257

## Slide 2: MSS vs XCMS

## Slide 3: MSS vs msdial

## Slide 4: 505 – min_scan5
Overlap check:
  Rt_tolerance:0.2 min
  Mz_tolerance:0.015 Da
Msdial :21759
Mss: 26242
Xcms: 17257
Min_scan 7 is verified as subset from min_scan 5

## Slide 5: MSS vs XCMS
Reason: unique features mostly small peaks, the model built on the larger peaks

## Slide 6: MSS vs msdial
msdial

## Slide 7: Note
The tolerance allows multiple overlap happens, i.e. several features from mss aligned with either xcms or msdial features
Next, compare with ENTACT information seeking for known peaks and validation
Detailed checked into overlap peaks and non-overlap peaks? – Manual
Stats on all peaks? thinking

## Slide 8: 506 min_scan7
Msdial :20988
Mss: 10242
Xcms: 16943

## Slide 9: Reason
Different limits
  Minscan
  Scan window
  Max peak within same chromatogram
Peak in xcms but not in mss

## Slide 10: Manual validation using ENTACT dataset
505 dataset
  136 out of 146 matched, 4 not sure, 6 didn’t match
506 dataset
  144 out of 150 matched, 4 not sure, 2 didn’t match
508 dataset
  110 out of 113 matched, 2 unsure, 1 didn’t match
Chart: 
| Match | Unsure | Dismatch
505 | 136 | 4 | 6
Chart: 
| Match | Unsure | Dismatch
505 | 144 | 4 | 2
Chart: 
| Match | Unsure | Dismatch
505 | 110 | 2 | 1